# Cylinder pressure regulator M59

# Text boxes

| Model | Gas | Inlet pressure P1 | Outlet pressure P2 | Flow Q1 | Inlet connection | Outlet connection |
| --- | --- | --- | --- | --- | --- | --- |
| M 59 | F, NF, NC | max. 300 bar | max. 16 bar | See diagram | cylinder DIN 477/CEN | Gas dependant DIN EN 560 G1/4 RH G3/8 LH |

The cylinder regulator M 59 reduces the pressure of compressed gases as well as liquid gases from max.300 bar down to a max. pressure of 16 bar.

The M 59 is a brass single stage regulator with relief valve for Oxygen and Acetylene and with technical approval.

The regulator can be supplied nickel or chrome plated for other gases, metal diaphragm and hand connection.